{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":5,"rows_kept":13,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["2026年西安市第一医院医用耗材招标参数"]
["序号","耗材大类","品名","适应范围","备注"]
[1,"基础卫生材料","一次性使用喉罩气道导管","适用于全身麻醉或需要紧急救助的病人进行短期人工通气支持使用，以达到保持上呼吸道通畅。为加强型且为硅胶材质。"]
[2,"基础卫生材料","一次性使用喉罩气道导管","放置贴合到会咽部，供全麻或心肺人工复苏建立短期人工气道用。为加强型。"]
[3,"基础卫生材料","一次性呼气末二氧化碳采集湿热交换过滤器（人工鼻）","三件套，供临床与呼吸机、麻醉机配套使用，用于呼吸气体中细菌及微粒的过滤，以及气体热湿交换。同时连接监测设备，进行呼气末二氧化碳取样（采集）。"]
[4,"基础卫生材料","一次性呼气末二氧化碳采集湿热交换过滤器（人工鼻）","五件套，供临床与呼吸机、麻醉机配套使用，用于呼吸气体中细菌及微粒的过滤，以及气体热湿交换。同时连接监测设备，进行呼气末二氧化碳取样（采集）。"]
[5,"基础卫生材料","一次性使用\n麻醉穿刺包","用于硬膜外和腰椎联合麻醉时穿刺、注射药物。"]
[6,"基础卫生材料","一次性使用\n麻醉穿刺包","用于腰椎麻醉时穿刺、注射药物。"]
[7,"基础卫\n生材料","一次性使用\n麻醉穿刺套件","适用于硬膜外麻醉、腰椎麻醉、神经阻滞麻醉、硬膜外和腰椎联合麻醉时穿刺、注射药物。"]
[8,"基础卫生材料","医用钙石灰","用于二氧化碳等酸性气体的吸收，与麻醉机配套使用。"]
[9,"基础卫\n生材料","一次性脉搏血\n氧饱和度传感器","与兼容的血氧测量设备配套使用，用于血氧饱和度和脉率的测量"]
[10,"基础卫\n生材料","一次性使用气管插管","供临床麻醉或急救时建立人工气道用。且有加强丝。"]
[11,"非血管介入治疗类材料","一次性使用鼻\n咽通气异型导管","供建立口/鼻咽通气道，防止舌后坠引起气道阻塞用。且为硅胶材质。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}