{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":129,"n_cols":7,"rows_kept":129,"merged":[[0,1,0,6],[1,0,19,0],[13,5,17,5],[20,0,36,0],[37,0,64,0],[65,0,66,0],[65,5,66,5],[67,0,69,0],[67,5,69,5],[67,6,69,6],[70,0,73,0],[71,5,73,5],[71,6,73,6],[74,0,76,0],[74,5,76,5],[77,0,94,0],[77,5,78,5],[79,5,82,5],[83,5,85,5],[86,5,90,5],[91,5,94,5],[95,0,114,0],[95,5,114,5],[116,0,118,0],[116,1,118,1],[116,2,118,2],[116,3,118,3],[116,4,118,4],[116,5,118,5],[116,6,118,6],[119,0,126,0],[119,5,126,5]],"flags":["formulas_cached_only"]}
[null,"2023年西安市第一医院骨科医用耗材应标要求"]
["包1","序号","品名","规格型号","单位","应标要求","备注"]
[null,1,"肋骨接骨板","LGB-1","块","肋骨骨折内固定"]
[null,2,"金属缆索固定系统","I型1.0-2.1","根","骨科手术中四肢骨折捆扎内固定"]
[null,3,"金属缆索固定系统","φ1.8-9.0","根","骨科手术中四肢骨折捆扎内固定"]
[null,4,"骨牵引针","0.8-7.0mm*30-300mm","根","骨科手术"]
[null,5,"髋关节假体-股骨柄",160,"盒","髋关节置换手术"]
[null,6,"单髁膝关节假体-股骨髁","XK-KG","个","膝关节置换手术"]
[null,7,"单髁膝关节假体-胫骨平台托","XK-JTK","个","膝关节置换手术"]
[null,8,"单髁膝关节假体-胫骨平台垫","XK-JDK","个","膝关节置换手术"]
[null,9,"齿状臂记忆环抱内固定器","34/27-150，32/30-150，37/30-150，34/27-170，37/30-170，29/27-150，29/27-170，32/30-170\n","个","适用于手舟骨、指骨、掌骨、足舟骨、跖骨、趾骨、小骨块尺骨、桡骨、腓骨、肱骨（辅助或单独）、肩胛骨、骨盆外侧、小骨块、颌面骨、颅骨等骨块的固定"]
[null,10,"颈椎融合器","SC1","个","与脊柱内固定系统配合使用，颈椎、腰椎时，提供椎体间的稳定支撑，维持间隙高度，用于椎间融合"]
[null,11,"腰椎融合器","SL1、SL2、SL4","个","与脊柱内固定系统配合使用，颈椎、腰椎时，提供椎体间的稳定支撑，维持间隙高度，用于椎间融合"]
[null,12,"金属骨针","Φ0.8-6.0×25-300/8-80mm","根","适用于骨科四肢骨折，骨盆骨折初次外固定使用"]
[null,13,"外固定支架-连接棒","Φ3.0-20×20-800mm（碳纤维复合材料）无菌包装","个"]
[null,14,"外固定支架","E40","根"]
[null,15,"外固定支架-连接棒","Φ3.0-20×20-800mm（铝合金）","根"]
[null,16,"外固定支架-骨针固定夹","Φ2.0-19.0×2.0-19.0mm（铝合金，不锈钢）","个"]
[null,17,"一次性使用负压引流护创材料包","AD-2-20*10*1","套","适用于皮肤、软组织创面的负压封闭引流"]
[null,18,"一次性使用负压引流护创材料包","AD-2-15×10×1","套","适用于皮肤、软组织创面的负压封闭引流"]
["包2",1,"髋臼后柱解剖型记忆固定器","KHⅣ—30；KHⅣ—35；KHⅣ—40；KHⅣ—45；KHⅣ—50；KHⅣ—55；KHⅣ—60","块 ","钛镍记忆合金，IV型 外径：30"]
[null,2,"记忆合金钉脚固定器","DJIII-8、 DJIII-10、DJIII-12、DJIII-14、DJIII-16、DJIII-18、DJIII-20、DJIII-24、DJIII-28","块 ","钛镍记忆合金，长度：20 高度：8-45，每1mm为一规格"]
[null,3,"记忆合金钉脚固定器","DJⅦ-10、DJⅦ-15、DJⅦ-17、DJⅦ-20、DJⅦ-23、DJⅦ-25、DJⅦ-30","块 ","钛镍记忆合金，长度：20高度：6-25，每0.5mm为一规格"]
[null,4,"记忆合金钉脚固定器","DJⅧ-10、DJⅧ-12、DJⅧ-15、DJⅧ-20、DJⅧ-25、DJⅧ-30","块 ","钛镍记忆合金，长度：20高度：6-25，每0.5mm为一规格"]
[null,5,"TiNi环抱式接骨器","3H6-15；3H7-15；3H8-15；3H9-15；3H10-19；3H11-19","块 ","钛镍记忆合金，长度：15 内径：6"]
[null,6,"TiNi环抱式接骨器","6Z7-22；6Z8-22；6Z9-22；6Z10-22；6Z11-28；6Z12-28","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,7,"TiNi环抱式接骨器","4H6-15；4H7-15；4H8-15；4H9-15；4H10-19；4H11-19","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,8,"TiNi环抱式接骨器","6H22-140；6H24-150；6H26-150；6H28-150","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,9,"TiNi环抱式接骨器","6Z24-150；6Z26-150；6Z28-150；6Z30-150","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,10,"TiNi环抱式接骨器","3HY8-50；3HY10-60；3HY12-60；3HY14-60；3HY8-50加长，3HY12-60加长，3HY14-60加长\n","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,11,"TiNi环抱式接骨器","6H16-100；6H18-100","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,12,"TiNi环抱式接骨器","6Z18-100；6Z20-100；6Z22-100","块 ","钛镍记忆合金，长度：22 内径：7"]
[null,13,"JTNK型TiNi骨卡环环抱式接骨器","KS16；KS18；  KS20；KS22","块 ","钛镍记忆合金，内径：27.5 外径：34.1"]
[null,14,"JTNK型TiNi骨卡环环抱式接骨器","KS24；KS26；  KS28；KS30","块 ","钛镍记忆合金，内径：27.5 外径：34.1"]
[null,15,"带齿记忆箍环状固定器","DCSI-02；DCSI-04","块 ","钛镍记忆合金，内径：27.5 外径：34.1"]
[null,16,"带齿记忆箍环状固定器","DCSI-06；DCSI-08；DCSI-10；DCSII-06；DCSII-08；DCSII-10","块 ","钛镍记忆合金，内径：27.5 外径：34.1"]
[null,17,"带齿记忆箍环状固定器","DCSI-12；DCSI-14；DCSI-16；DCSII-12；DCSII-14；DCSII-16","块 ","钛镍记忆合金，内径：27.5 外径：34.1"]
["包3",1,"组合锁定外固定架-固定件","直型固定件I型GDJ01 1孔-12孔","个","规格齐全,适用于在胫腓骨骨折手术过程中牵引、定位和固定的作用。"]
[null,2,"组合锁定外固定架-杆杆夹","杆杆夹I型 1孔-12孔 8*8、**11、11*11、11*13、11*15","个","规格齐全,适用于在胫腓骨骨折手术过程中牵引、定位和固定的作用。"]
[null,3,"组合锁定外固定架-连接杆","连接杆（一体式） D:8mm、11mm、13mm、15mm    L:35-120mm,每5mm一种规格，L:120-200mm,每10mm一种规格，L:200-400mm,每50mm一种规格","个","规格齐全,适用于在胫腓骨骨折手术过程中牵引、定位和固定的作用。"]
[null,4,"组合锁定外固定架-连接件","M6螺纹连接件 D:8mm、11mm  L:15mm、20mm","个","规格齐全,适用于在胫腓骨骨折手术过程中牵引、定位和固定的作用。"]
[null,5,"骨科外固定支架5类环（全环、C型环）","5类环（全环、C型环）110、130、140、155、165、180、200","个","规格齐全,适用于在骨折和矫形手术过程中牵引、定位和固定的作用。"]
[null,6,"骨科外固定支架-肩部螺栓","肩部螺栓","个","规格齐全,适用于在骨折和矫形手术过程中牵引、定位和固定的作用。"]
[null,7,"骨科外固定支架-球型连接杆（快装型）","球型连接杆（快装型）短、中、长、超长","个","规格齐全,适用于在骨折和矫形手术过程中牵引、定位和固定的作用。"]
[null,8,"骨科外固定支架-内衬套","内衬套4mm、5mm、6mm","个","规格齐全,适用于在骨折和矫形手术过程中牵引、定位和固定的作用。"]
[null,9,"骨科外固定支架-凹四方立柱","凹四方立柱1孔、2孔、3孔、4孔、5孔","个","规格齐全,适用于在骨折和矫形手术过程中牵引、定位和固定的作用。"]
[null,10,"椎体假体","ZJT-e型、ZJT-s型、ZJT-b型、ZJT-d型、ZKT-a型各种规格椎体","个","脊柱手术专用"]
[null,11,"椎间融合器","ZH-b型、XX-b型、JH-b型、YH-b型、AYH-b型各种规格融合器","个","脊柱手术专用"]
[null,12,"螺钉","B型","个","脊柱手术配套"]
[null,13,"齿状臂记忆环抱内固定器","圆椎型、圆柱型 、异型","个","1. 向骨断端提供持续的轴向加压作用，使断骨有着良好的解剖复位 \n2. 立体固定，实现整体效应 ，多重力线更稳定，使患骨更具抗旋性\n3. 点状接触，弹性模量低，不影响骨皮质的微循环\n"]
[null,14,"同种异体肌腱","JJ-1  L150mm×Φ(3.0-5.0)mm，L200mm×Φ(3.0-5.0)mm， L250mm×Φ(3.0-5.0)mm；JJ-2 L200mm×Φ(5.0-8.0)mm，L250mm×Φ(5.0-8.0)mm，JJ-3  L200mm×Φ(8.0-10.0)mm  L250mm×Φ(8.0-10.0)mm","个","可在不破坏受体正常组织结构的情况下，既保留原有结构功能特性，又能满足重建及修复术中肌腱的长度、粗细、弹性、张力等问题。"]
[null,15,"脱细胞异体真皮基质软组织补片","10cmx6cm，3cmX2cm，4cmX3cm，5cmX3cm，6cmX4cm，7cmX5cm，10cmX8cm","个","脱细胞异体真皮基质软组织补片作为一种理想的天然真皮支架来修复软组织的缺损，避免患者供区的二次损伤，最大程度地减轻了瘢痕组织的生成。"]
[null,16,"一次性穿刺微创扩张器及组件","YK-A:KQA-40,50,60,70,YK-B:KQB-40,50,60,70","个","用于腰椎手术通道的建立。"]
[null,17,"一次性使用纤维环缝合器","ELAS-A-145,ELAS-A-175,ELAS-A-300","个","椎间盘突出髓核摘除手术后的纤维环缝合，与医院目前现有缝合工具相匹配。"]
[null,18,"脊柱探针","P1-AU411、P1-AU2、P1-AU414","个","椎弓根螺钉技术的创新解决方案，在操作中实时传导，确保精准度、安全性；位置不正确时提前预警，可随时调整方向；减少术中透视次数，减少辐射；在操作中实时传导，确保精准度、安全性。\n\n"]
[null,19,"骨扩张器","Ⅰ型、Ⅱ型","个","经皮微创入路，金属不锈钢结构 ，对压缩性锥体撑开强度更高，高于球囊、提供可靠的空间创造；接触人体的金属材料不受通道的阻力影响，以便在膨胀中维持原形；相较于球囊的扩张张力，能扩张器强度更高；对撑开椎体高度提供坚强支撑，治疗能松性压缩骨折更安全有效"]
[null,20,"无菌骨牵引针","QYGYJ，直径分别为0.8mm、1.0mm、1.2mm、1.5mm、2.0mm、2.5mm、3.0mm、4.0mm。长度分别为150mm、250mm、350mm、450mm","个","规格齐全，其中350mm、450mm可用于脊柱内镜技术的定位，定位使用的克氏针头端采用圆头设计，在穿刺定位及术中遮挡神经的使用中可以很好的保护神经不被损伤。"]
[null,21,"一次性射频等离子体手术电极刀头","SPQV10130   2.5x15度，SPLW11135  3.8x90度，","个","与射频等离子手术主机配合使用，用于人体组织的消融，切割，凝固止血。"]
[null,22,"射频消融电极","FAC12S-1337","个","与射频等离子手术主机配合使用，用于人体组织的消融，切割，凝固止血。"]
[null,23,"一次性无创皮肤吻合器","2cm*1/V02A；6cm*1/V06A；10cm*1/V10A；14cm*1/V14A；18cm*1/V18A",null,"用于手术切口表层皮肤的闭合处理，简单快速，减少切口瘢痕的增生抑制瘢痕变宽，没有外科缝合带来的蜈蚣足疤痕，多个规格满足不同切口长度。"]
[null,24,"一次性使用等离子手术电极刀头","(刀型）PS02-01/PS02-01A/PS02-01B/PS02-01C/PS-02           （箭型）PS06-01/PS06-01A/PS06-01B/PS02-01C/PS02-01D",null,"单极等离子手术设备为国家创新医疗器械产品, 拥有独家低温等离子切割凝血技术知识产权,其在临床应用中优势明显:\n适用于各种外科开放性手术的皮肤、组织精细切割、凝血；无需生理盐水辅助，配合特有涂层，热损伤降低90%以上,可直接进行皮肤切割，切割过程中烟雾极少，无组织的碳化焦痂形成，满足未来手术精细化的要求。"]
[null,25,"一次性无菌骨牵引针","FT3、FT4、FT8500、FS11，直径分别为0.4mm、0.5mm、0.6mm、0.8mm、0.88mm、0.9mm、1.0mm、1.2mm、1.5mm、2.0mm、2.5mm、2.8mm、3.0mm、3.2mm、3.5mm、4.0mm、4.5mm、5.0mm。长度分别为230mm、250mm、500mm、1000mm",null,"规格齐全,适用于在骨折手术过程中牵引、定位和固定的作用。"]
[null,26,"超声手术系统附件-超声骨刀刀头","OT8SNN/OT8SNL/OT8SSS",null,"高品质钛合金材质；具有磨骨刀和切骨刀两大类十余种刀头，可以满足开放手术、微创手术等不同的手术术式，可以提供适合不同部位的各式刀具"]
[null,27,"负压引流装置","可补偿压力式HB20B,HB20D,HB20F","个","进液排气排液分离，多管道防逆流设计，多个进液口设计可实现多部位同时引流并可接任何型号引流管，可持续补偿负压，具有负压补偿国家专利。"]
[null,28,"封闭创伤负压引流套装","I型-PVA，III型-PU， 15x10x1cm-SG\n15x10x1cm-SG，26x15x3.3cm，10x7.5x3.3c，18x12.5x3.3cm，15x10x3cm","个","医用高分子海绵的使用使负压引流不受体位限制，并提供均衡负压对创面进行全方位引流；命中引流区实现“零聚集”，防止感染扩散及毒素重吸收；有生物半透膜封闭，有效地隔绝外界污染。"]
["包4",1,"外科手术用防粘连冲洗液","100ml","盒","本品由羧甲基壳聚糖、氯化钠、磷酸缓冲盐等组成"]
[null,2,"外科手术用防粘连冲洗液","50ml","盒"]
["包5",1,"生物羊膜","25mm*25mm","片","骨科用无滤纸（凹凸面）"]
[null,2,"生物羊膜","30mm*40mm","片"]
[null,3,"生物羊膜","40mm*70mm","片"]
["包6",1,"富血小板血浆制备器","各型号","个","通过离心的方法提取血小板浓缩液，促进骨与软组织修复。"]
[null,2,"一次性电动骨组织穿刺活检针","XD Cr L 11057/XD-A-17L","套","由穿刺针、套筒、取样仓、手柄、适配器（选配）组成。手柄外壳和取样仓由ABS组成，套筒和穿刺针由不锈钢组成。运行模式间歇加载连续运行，运行1min，间歇10S后再使用。夹持力30N，大气压力700hPa～1060hPa\n"]
[null,3,"一次性电动骨组织穿刺活检针","XD Cr L 11055/XD-A-17L","套"]
[null,4,"一次性电动骨组织穿刺活检针","XD Cr L 11055/XD-A-17K","套"]
["包7",1,"脱细胞基质周围神经修复膜","10mm×10mm×0.09mm","盒"," 产品具有物理屏障作用，可有效避免损伤神经与周围组织的接触，为神经的修复提供良好的微环境。国家发明专利产品，国内唯一有效保留神经细胞外基质成分的周围神经修复材料，使用时对损伤部位进行包饶，为周围神经损伤修复提供良好的“再生室”微环境。"]
[null,2,"脱细胞基质周围神经修复膜","20mm×20mm×0.09mm","盒"]
[null,3,"脱细胞基质周围神经修复膜","6mm×8mm×0.09mm","盒"]
["包8",1,"可调伤口负压引流瓶及附件","Redyrob Comp可调负压引流瓶及附件","套","负压调节器，可在重力引流，低、中、高负压引流格挡自由切换；连接管抗逆流阀；鲁尔接口；双体引流接头；定量真空指示器；Redon穿刺钢针；Redon引流管"]
[null,2,"可调伤口负压引流瓶及附件","Redyrob Trans Plus可调负压引流瓶及附件","套"]
[null,3,"伤口负压引流瓶系统及附件","Drainobag®150","套","梯形引流接头，可连接CH6-18的引流管；双重管闭夹；鲁尔接口、非接触式旋转口设计；真空指示器；"]
[null,4,"伤口负压引流瓶系统及附件","Drainobag®600","套"]
[null,5,"伤口负压引流瓶系统及附件","Drainobag®600","套"]
[null,6,"伤口负压引流瓶系统及附件","Drainobag®600","套"]
[null,7,"伤口负压引流瓶系统及附件（套装）","Drainobag®600","套","梯形引流接头，可连接CH6-18的引流管；双重管闭夹；鲁尔接口、非接触式旋转口设计；真空指示器；"]
[null,8,"伤口负压引流瓶系统及附件（替换装）","Drainobag®300","套"]
[null,9,"伤口负压引流瓶系统及附件（替换装）","Drainobag®600","套"]
[null,10,"伤口负压引流系统及附件  Vacuum Redon Type Wound Drainage System","Redon穿刺针,预连接Redon引流管,CH8","根","针尖边缘锋利便于穿刺，针柄方便握持"]
[null,11,"伤口负压引流系统及附件  Vacuum Redon Type Wound Drainage System","Redon穿刺针,预连接Redon引流管,CH12","根"]
[null,12,"伤口负压引流系统及附件  Vacuum Redon Type Wound Drainage System","Redon穿刺针,预连接Redon引流管,CH14","根"]
[null,13,"伤口负压引流系统及附件  Vacuum Redon Type Wound Drainage System","Redon穿刺针,预连接Redon引流管,CH10","根"]
[null,14,"伤口负压引流系统及附件  Vacuum Redon Type Wound Drainage System","Redon穿刺针,预连接Redon引流管,CH16","根"]
[null,15,"伤口负压引流瓶系统及附件","Redon引流管 CH.14","根","管腔耐高负压，不变形，不塌陷，不透X光，三段定位标记，均匀十字打孔"]
[null,16,"伤口负压引流瓶系统及附件","Redon引流管 CH.12","根"]
[null,17,"伤口负压引流瓶系统及附件","Redon引流管 CH.16","根"]
[null,18,"伤口负压引流瓶系统及附件","Redon引流管 CH.10","根"]
["包9",1,"可吸收性外科缝线","缝针：圆针、1/2弧度、11*28；缝线：0，   线长：75cm；","根","1.可吸收外科缝合线(PGA)，60-90天可吸收。\n2.黑色哑光涂层，扁体圆针\n3.铝塑包装，线圈式缠绕方式\n4.线长70-90厘米           "]
[null,2,"可吸收性外科缝线","缝针：圆针、1/2弧度、10*24；缝线：2-0， 线长：75cm；","根"]
[null,3,"可吸收性外科缝线","缝针：圆针、1/2弧度、6*14；缝线：3-0， 线长：75cm；","根"]
[null,4,"可吸收性外科缝线","缝针：圆针、1/2弧度、5*12；缝线：4-0， 线长：75cm；","根"]
[null,5,"可吸收性外科缝线","缝针：圆针、1/2弧度、4*12；缝线：5-0， 线长：75cm；","根"]
[null,6,"可吸收性外科缝线","缝针：圆针、1/2弧度、3*8；缝线：6-0， 线长：75cm；","根"]
[null,7,"可吸收性外科缝线","缝针：圆针、1/2弧度、11*29；缝线：1，   线长：75cm；","根"]
[null,8,"可吸收性外科缝线","缝针：角针、3/8弧度、7*19；缝线：3-0， 线长：75cm；","根"]
[null,9,"可吸收性外科缝线","缝针：角针、3/8弧度、6*15；缝线：4-0， 线长：75cm；","根"]
[null,10,"可吸收性外科缝线","缝针：角针、3/8弧度、4*10；缝线：5-0， 线长：75cm","根"]
[null,11,"可吸收性外科缝线","缝针：角针、3/8弧度、3*8；缝线：6-0， 线长：75cm；","根"]
[null,12,"可吸收性外科缝线","缝针：圆针、1/2弧度、11*28；缝线：0，线长：90cm；","根"]
[null,13,"可吸收性外科缝线","缝针：圆针、1/2弧度、10*24；缝线：2-0，线长：90cm；","根"]
[null,14,"可吸收性外科缝线","缝针：圆针、1/2弧度、6*14；缝线：3-0，线长：90cm；","根"]
[null,15,"可吸收性外科缝线","缝针：圆针、1/2弧度、6*14；缝线：4-0，线长：90cm；","根"]
[null,16,"可吸收性外科缝线","缝针：圆针、1/2弧度、5*12；缝线：5-0，线长：90cm","根"]
[null,17,"可吸收性外科缝线","缝针：圆针、1/2弧度、13*28；缝线：1，线长：90cm；","根"]
[null,18,"可吸收性外科缝线","缝针：角针、3/8弧度、7*19；缝线：3-0，线长：90cm；","根"]
[null,19,"可吸收性外科缝线","缝针：角针、3/8弧度、6*15；缝线：4-0，线长：90cm；","根"]
[null,20,"可吸收性外科缝线","缝针：角针、3/8弧度、4*10；缝线：5-0，线长：90cm；","根"]
["包10",1,"羧氨基葡聚多糖钠生物胶体液","50ml","瓶","术中冲洗用，减少血液渗出，减少组织液渗出与减少疼痛，隔离润滑，预防粘连，抗感染"]
["包11",1,"海藻酸钙敷料","5x10、10x10、10x20、10x25、","片","术后伤口湿性愈合，抑菌、止血、防止伤口粘连、促进伤口愈合，减少局部疼痛、减少疤痕形成"]
[]
[]
["包12",1,"骨盆固定器","定制","个","采用不同材料制成，不与体内使用的医疗器械连接，非无菌提供。"]
[null,2,"腰椎固定器","定制","个"]
[null,3,"膝关节固定器","定制","个"]
[null,4,"足托固定器","定制","个"]
[null,5,"骨科保护支具","定制","个"]
[null,6,"颈椎固定器","定制","个"]
[null,7,"髌骨加压固定器","定制","个"]
[null,8,"肩关节固定器","定制","个"]
["包13",1,"头部固定器","定制","个","由高分子材料，织物、金属材料组成"]
["包14",1,"医用几丁糖（关节腔内注射用）","1mL、2mL、3mL","支","具备三类医疗器械注册的关节腔注射剂产品"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}